05/22/06

Short Term Firm System Impact Studies

Attachment AC has been implemented on an experimental basis since May 1, 2005. After discussion and review SPP staff will enforce the following effective immediately.

Section 3.2 Initial Feasibility Analysis

Upon receipt of such Qualifying Request, SPP shall conduct an initial analysis of the feasibility of such reservation at no cost to the customer. This preliminary study will be

posted on the SPP OASIS web site. Such reservation shall be deemed feasible if the number of flowgate constraints are three or less and the AFC required is the lesser of the TRM Value minus the capacity used by other reservations granted pursuant to these procedures or fifteen percent of the flowgate capacity minus capacity used by other reservations granted pursuant to this method. If the reservation is not deemed to be feasible, it will be processed according to the normal methodology used for short-term firm service requests provided for in this Tariff.

If the number of flowgate constraints is three or more the request will be deemed as not feasible and the request will be refused.

08/02/06 Update

During discussion at the ORWG meeting in June, 2006 the following wording and procedure change was recommended.

Upon receipt of such Qualifying Request, SPP shall conduct an initial analysis of the feasibility of such reservation at no cost to the customer. This preliminary study will be

posted on the SPP OASIS web site. Such reservation shall be deemed feasible if the number of flowgate constraints are three or less or if the Transmission Customer notifies SPP that it believes it is capable of providing valid re-dispatch to mitigate the identified constraints and the AFC required is the lesser of the TRM Value minus the capacity used by other reservations granted pursuant to these procedures or fifteen percent of the flowgate capacity minus capacity used by other reservations granted pursuant to this method. If the reservation is not deemed to be feasible, it will be processed according to the normal methodology used for short-term firm service requests provided for in this Tariff.

Per this wording change SPP will still consider requests for a system impact study if more than 3 constraints are impacted and the customer notes in the comments:

“Please consider for impact study if up to X* constraints are impacted.”

*The X value is at the customer’s discretion