Request for Change in Local Delivery Facilities

Pursuant to the Delivery Point Addition Process in Attachment AQ of the Tariff notice is hereby provided on ________________ (date of notice) to _______________(the Host Transmission Owner) and Transmission Provider that Transmission Customer requests certain changes in delivery point(s) under the agreement.

Responses marked with an asterisk (*) are required.  Supply all details that are known or projected.

# Requested Modification

- Description of  delivery point modification*

  - Type of change requested (new delivery point, upgrade of an existing delivery point, retirement or abandonment of an existing delivery point, etc.) *

  - Proposed in service date of the modification*

  - Reason for the requested change (i.e. normal or unexpected load growth or load reduction, reliability needs or other reason) *

  - Related transmission service agreement*

  - Location of the delivery point change and identification of the facilities involved*

    - Geographic location of the new delivery point or the delivery point to be modified*

    - The transmission facilities of the Host Transmission Owner involved in the change*

    - Voltage of the facilities involved*

    - Desired meter location*

    - Expected impact on other delivery points, if any*

      - Load transfer from another delivery point and, if so, estimated amount*

      - Anticipated modifications to other delivery points due to this change, if any*

    - Facilities of others that may be involved*

- Facilities to be constructed

  - Facilities to be constructed or provided by the Host Transmission Owner

  - Facilities to be constructed or provided by the Transmission Customer

- Technical Aspects of a new delivery point

  - Location

    - Located near structure number

    - 911 address

    - State, County and ¼ of ¼ Section number

    - GPS Coordinates

  - Technical aspects

    - Anticipated initial load*

    - Number of wires (3 or 4 wire connection)

    - Service voltage

    - Meter

      - Type

      - Voltage

      - Supplied by

      - Owned by

      - PTs and CTs required

      - Communications configuration

      - Location of meter

    - Transformer size and voltages

    - Transmission line conductor size and impedance rating

    - Type and location of protective devices

- Other pertinent information

Attachments:

- One-line diagram showing existing and proposed facilities pertaining to the request.*

- IDV file(s) for anticipated starting load.

- Ten year load forecast for the delivery point being added or modified and any associated changes in the load forecast for other delivery points.*

# Requestor Contact:

# Name:  ________________________________

Title:  _________________________________

Company: _____________________________

Mailing Address:  _______________________

Email Address:  _________________________

Voice Phone No.:  _______________________