## Network Apps Narrative
Revised 7/26/12
Southwest Power Pool
Network Integration Transmission Service Application
Date:
| Purpose of Application: (Check boxes as applicable) |  |  |  |  | Initial NITS Application for SPP Service | Designation (Addition) | Undesignation (Termination) | Edit Existing
| Delivery Point Transfer (DPT) per Attachment AR Screening Study | [5 empty] | X |  |  | Request to evaluate a potential delivery point transfer from one Network Customer to a different Network Customer
| Potential Long Term Service Request (LTSR) per Attachment AR Screening Study | [5 empty] | X |  |  | Request to screen potential LTSR alternatives. (Will not result in granting of transmission service)
| Network Resource: | [5 empty] | X |  |  | Request to add a new DNR, terminate a DNR, or edit data regarding an existing DNR
| Network Load : | [5 empty] | X |  |  | Request to add a new load, remove a load, or edit data regarding network load delivery points per Attachment AQ of OATT
| Rollover of existing load and resources to SPP NITS |  |  |  |  | X |  |  |  | Request to rollover existing grandfathered load and resources to SPP NITS
| Renewal of SPP NITS service | [7 empty] | X | Revise data at time of renewal of SPP master load request
| Annual Load and Resource Information update per Attachment G Section 4.0 (October 1st annually) | [7 empty] | X | Submission of 10 year load and forecast update on an annual basis
| Other ( Please explain purpose of application) | [7 empty] | X | Utilize for any purpose not listed. Example might be change of Customer contact information.
Company Name
Company Acronym
Physical Company Address (Do Not Use P.O. Box)
City, State Zip
SPP OASIS Number (A separate application is required for each OASIS request. List the active master NITS load OASIS request number for new delivery point addition analysis per Attachment AQ)
Point of Contact Information
POC Name
POC Phone Number
POC Fax #
POC Email Address
NOTE: The additional information requested below is required by Southwest Power Pool FERC Electric Tariff Section 29.2.
1.0 |  | Eligible Customer Statement
is an eligible customer under Southwest Power
Enter your company’s name above
Pool’s Open Access Transmission Tariff. [Section 29.2 (ii) of tariff]
2.0 |  | Network Load and Load Forecast [Section 29.2 (iii) of tariff] Interconnection information shall include both SPP modeled load and non-SPP modeled load to be served at each substation at each transmission voltage level, and a 10 year forecast of Summer ( Table 1) and Winter demand (Table 2) with annual energy requirements (Table 3) for each delivery point beginning with the first year after the service is scheduled to commence.
select link to go to tables |  | table 1 |  |  | table 2 | [5 empty] | table 3
|  | Network load will be the | [8 empty] | as metered at it’s
|  | generation and intertie points. |  |  |  |  | Enter name of load
Comments:
a) Plans for Uncommitted resources: Resources within the region that are not contracted to serve load, do not have adequate transmission capacity to be deliverable, or transmission studies have not been conducted to determine if the resource is deliverable as of the reporting date. Please provide data for modeling purposes for proposed new resources to include: Is this an additional resource to be added to existing list of designated resources or is it replacing other resources? Provide detail on what resources will be undesignated for analysis of this new resource along with revisions to Table 4. Also designate what load will be served by this new resource. All Resident load or only NITS load under SPP OATT? Is load going to be telemetered into another control area? If so please provide details.
| 3.0 | Currently there are |  |  | interruptible customers on the |  |  |  |  | system. [Section 29.2(iv) of tariff]
Identify the amount and location of interruptible customer load (if any) included in the 10 year Summer and Winter load forecast in Tables 1-3.
Comments:
Comments:
| 4.0 | Description of Network Resources [Section 29.2 (v)] Complete Table 4 for a description of current On System and Off System Network Resources. Complete Table 5 and 6 for 10 year projection of Summer and Winter Network Resources.
|  | select link to go to tables | [6 empty] | table 4 | table 5
| 5.0 | Provision of Ancillary Services: (OATT Section I. Common Service Provisions, Section 3, Ancillary Services) Ancillary Service 1 and 2 must be purchased from Transmission Provider. List source of provision of Ancillary Services 3-6.
| 6.0 | Description of Transmission System [Section 29.2 (vi)]
Annual load flow models have been submitted to Southwest Power Pool.
|  |  | (a) | Planned Upgrades -10 year projection and other transmission system data
| 7.0 | Service Commencement Date [Section 29.2 (vii)]
Comments:
| 8 | Network Resource Attestation Statement. A statement signed by an authorized officer from or agent of the Network Customer attesting that all of the network resources listed in accordance with 29.2 (v) in this application meet the requirements of the SPP OATT Section 29.2 section (viii).For any new network resource to be studied by the aggregate study process the attestation shall include the allocation of owership shares. Please fax the signed attestation statement with listed applicable OASIS request numbers to 501-821-3198 and comment on OASIS that attestation was provided to SPP on ___ date. Not required for LTSR screening study or Delivery Point Addition analysis.
Upon completion of this form, please return via email to:
|  | For Screening Study Analysis: |  |  |  | For Delivery Point Addition Analysis: |  |  |  | For Aggregate Study Analysis and all other
|  | Steve Purdy, PE |  |  |  | Hassan Shah |  |  |  | purposes:
|  | Manager, Transmission Service Studies |  |  |  | Engineer, Planning |  |  |  | Steve Purdy, PE
|  | Southwest Power Pool |  |  |  | Southwest Power Pool |  |  |  | Manager, Transmission Service Studies
|  | Phone: 501/614-3371 |  |  |  | Phone: 501/688-2518 |  |  |  | Southwest Power Pool
Phone: 501/614-3371
|  | Email: dpt@spp.org or ltsr@spp.org |  |  |  | Email: AQ-DeliveryPoints@spp.org |  |  |  | Email: ATSS@spp.org
as applicable
By emailing this form to Southwest Power Pool, you are stating that all of the information above is correct and that you are considered an authorized representative of your company.
SPP Use Only
Date Received
Time Received
This data is critical for Aggregate Study puposes for study of new DNR's. Comments:
This shall include that portion of the load subject to interruption, the conditions under which an interruption can be implemented and any limitations on the amount and frequency of interruptions.
Not necessary for initial Aggregate Study or screening study purposes
Required for rollover of existing native load to SPP NITS and annual update

## Table 1 Summer Demand
Network Load Per OATT 29.2(iii)
CONTROL AREA |  |  |  | Data input fields
SUMMER 10 YR LOAD FORECAST DEMAND |  |  |  | Formula fields, do not input data
FIRM LOAD AS MODELED IN SPP POWER FLOW MODEL
SPP Bus # | Modeling Load ID (Needed to determine when multiple customer loads are at a Bus #) | Are there multiple customer loads at this Bus # and Load ID ? (Yes/No) | Delivery Point Name | Delivery Point Ownership | Power Factor | Voltage (kV) | 2010 (MW) | 2011 (MW) | 2012 (MW) | 2013 (MW) | 2014 (MW) | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) Used as a Proxy for the 2021 Model Forecast)
[7 empty] | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
|  |  | TOTAL FIRM LOAD MODELED |  |  |  | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
TOTAL TRANSMISSION LOSSES
|  |  | TOTAL FIRM LOAD MODELED PLUS LOSSES |  |  |  | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
FIRM LOAD OFF SYSTEM to be served as SPP NITS- Other Interconnections (not included in SPP power flow models)
|  |  | TOTAL FIRM LOAD-OFF SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL TRANSMISSION LOSSES-OFF SYSTEM
|  |  | TOTAL FIRM LOAD OFF SYSTEM PLUS LOSSES |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERRUPTIBLE LOAD
Need breakdown by delivery point of amount of load that is interruptible
|  |  | TOTAL INTERRUPTIBLE LOAD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL TRANSMISSION LOSSES
|  |  | TOTAL INTERRUPTIBLE LOAD PLUS LOSSES |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL LOAD PLUS LOSSES- Summer |  |  |  | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
Note on A4: jbr0903: To include all noncoincident load to be addressed as NITS load in this application

## Table 2 Winter Demand
Network Load Per OATT 29.2(iii)
CONTROL AREA
WINTER 10 YR LOAD FORECAST DEMAND
FIRM LOAD AS MODELED IN SPP POWER FLOW MODEL
SPP Bus # | Modeling Load ID (Needed to determine when multiple customer loads are at a Bus #) | Are there multiple customer loads at this Bus # and Load ID ? (Yes/No) | Delivery Point Name | Delivery Point Ownership | Power Factor | Voltage (kV) | 2010 (MW) | 2011 (MW) | 2012 (MW) | 2013 (MW) | 2014 (MW) | 2015 (MW) | 2016 (MW) | 2017 (MW) | 2018 (MW) | 2019 (MW) Used as a Proxy for the 2021 Model Forecast)
[7 empty] | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
|  |  | TOTAL FIRM LOAD MODELED |  |  |  | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
TOTAL TRANSMISSION LOSSES
|  |  | TOTAL FIRM LOAD MODELED PLUS LOSSES |  |  |  | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
FIRM LOAD OFF SYSTEM to be served as SPP NITS- Other Interconnections (not included in SPP power flow models)
|  |  | TOTAL FIRM LOAD-OFF SYSTEM |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL TRANSMISSION LOSSES-OFF SYSTEM
|  |  | TOTAL FIRM LOAD OFF SYSTEM PLUS LOSSES |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERRUPTIBLE LOAD
Need breakdown by delivery point of amount of load that is interruptible
|  |  | TOTAL INTERRUPTIBLE LOAD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL TRANSMISSION LOSSES
|  |  | TOTAL INTERRUPTIBLE LOAD PLUS LOSSES |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | TOTAL LOAD PLUS LOSSES- Summer |  |  |  | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
Note on A5: jbr0903: To include all noncoincident load to be addressed as NITS load in this application

## Table 3 Energy Requirements
Network Load Per OATT 29.2(iii)
CONTROL AREA
10 YEAR FORECAST OF ANNUAL AGGREGATE ENERGY REQUIREMENTS (GWH)
FIRM LOAD AS MODELED IN SPP POWER FLOW MODEL
NATIVE LOAD | Delivery Point Name | Delivery Point Ownership | Voltage (kV) | 2010 (GWH) | 2011 (GWH) | 2012 (GWH) | 2013 (GWH) | 2014 (GWH) | 2015 (GWH) | 2016 (GWH) | 2017 (GWH) | 2018 (GWH) | 2019 (GWH) Used as a Proxy for the 2021 Model Forecast)
Only required for rollover to SPP NITS or annual update
FIRM LOAD OFF SYSTEM to be served as SPP NITS- Other Interconnections (not included in SPP power flow models)
TOTAL ENERGY REQUIREMENTS ON AN AGGREGATE BASIS (GWH) FIRM LOAD |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
INTERRUPTIBLE LOAD
Need breakdown by delivery point of each
| TOTAL ENERGY REQUIREMENTS INTERRUPTIBLE LOAD (GWH) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL ENERGY REQUIREMENTS
| TOTAL ANNUAL ENERGY REQUIREMENTS (GWH) |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Table 4 Resource Descriptions
Table 4
Description of Network Resources (Section 29.2 (v) of tariff)
Resource Description or Unit Name | Location (County/State) | [5 empty] | Resource Type (On-SPP System or Off-SPP System) | Maximum Net Dependable Capacity to serve Native Load (MW) |  |  | On-SPP System Information |  |  |  |  | Off-SPP System Information |  |  |  | Operating Restrictions
|  | Data required for Proposed Network Resources | [8 empty] | Unit Capacity Nameplate (MW) | Capacity Designated as Network Resource (MW) | VAR Capability - Leading | VAR Capability - Lagging | Third Party Sale and Delivery Arrangements (Add to comment section below) | Contracted Amount of Capacity Rights (MW) | Originating Control Area(s) | Delivery Point(s) in Transmission Provider's System | External Transmission System Arrangements (Add to comment section below) | Restricted Operation Periods | Maintenance Schedules | Minimum Loading Level (MW) | Normal Operating Level (MW) | Must-Run Unit Designations (List specifics of seasonal loading levels) | Approximate variable generating cost for redispatch ($/MWH)
|  | OASIS Number for Proposed Resource under Study | Study Number for Proposed Resources under Study | SPP Bus # where Generation is modeled | Generator Unit ID # as modeled | Generator Interconnect Procedure Study # |  | Summer | Winter | Designated Firm Transmission Capacity Rights to serve NITS load (MW)
This Table's intent is to list data on existing and proposed designated network resources. If a Joint Ownership resource list ownership percentage. | [20 empty] | Not required for AG studies.
Existing Non Wind Resources
Proposed Non Wind Resources
Existing Wind Resources | [7 empty] | List the net dependable rating for wind either from wind data or default of 0MW per SPP Criteria 12.1.2.3g.v
Proposed Wind Resources
Comments:
Note on I4: J.Rooker: Wind generation will be 0MW NDC until estahlished per Criteria 12.1.5.3g
Note on Z5: J.Rooker: This is needed to establish the generation stack order for modeling.
Note on K6: J.Rooker: May be a higher value than net dependable rating. This defines cap on transmission rights.
Note on M5: J.Rooker: Cannot exceed firm transmission rights

## Table 5 SummerResource Forecast
Summer Network Resource Forecast Per OATT 29.2 (v)
Total MW Input to System available as a Network Resource
| Data required for Proposed Network Resources |  | 2010 MW |  | 2011 MW |  | 2012 MW |  | 2013 MW |  | 2014 MW |  | 2015 MW |  | 2016 MW |  | 2017 MW |  | 2018 MW |  | 2019 (MW) Used as a Proxy for the 2021 Model Forecast)
| OASIS Number for Proposed Resource under Study | Study Number for Proposed Resources under Study | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity
Customer Owned Network Resources
Customer Owned Existing Non Wind Resources
Example: Resource #1 | 135555 | 2009-AG3 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Customer Owned Proposed Non Wind Resources
Subtotal Customer Owned Non Wind Network Resources MW |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Customer Owned Existing Wind Resources
(Net dependable rating for wind either from wind data or default of 0MW per SPP Criteria 12.1.2.3g.v)
Wind Resource #1
Wind Resource #2 |  |  | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0
Customer Owned Proposed Wind Resources
Wind Resource #1
Wind Resource #2 |  |  |  |  | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0
Subtotal Customer Owned Wind Generation MW |  |  | 50 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0
Total Owned Network Resources MW |  |  | 100 | 50 | 175 | 50 | 175 | 50 | 175 | 50 | 175 | 50 | 175 | 50 | 175 | 50 | 175 | 50 | 175 | 50 | 175 | 50
Firm Purchases designated as a network resource
Non Wind Existing Resource Firm Purchases MW
Firm Purchase #1 |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Firm Purchase #2 |  |  |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Non Wind Proposed Resource Firm Purchases MW
Firm Purchase #1
Firm Purchase #2
Subtotal Non Wind Firm Purchases MW |  |  | 50 | 50 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Wind Existing Resource Firm Purchases MW
Firm Purchase #1
Firm Purchase #2 |  |  | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5
Wind Proposed Wind Resource Purchases
Firm Purchase #1 | 125555 | 2009-AG3 |  |  | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0
Firm Purchase #2
Subtotal Wind Firm Purchases MW |  |  | 25 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5
Total Purchases to serve native load |  |  | 75 | 52.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5
Sales and delivery to third parties within SPP footprint from designated network resources. Detail sales from specific units that deduct from resources available to serve native load as listed above. If sales are from fleet of resources, so note as a deduct from available resources to serve native load.
Third Party Sale #1
Third Party Sale #2
Total Sales from network resources |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Network Resources available to serve native load (total owned generation plus purchases less sales) |  |  | 175 | 102.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5 | 325 | 152.5
Total Resource to Load Ratio (125% Cap) |  |  |  | 20.5% |  | 30.5% |  | 30.5% |  | 30.5% |  | 30.5% |  | 30.5% |  | 30.5% |  | 30.5% |  | 30.5% |  | 30.5%
Wind Resource to Load Ratio (20% Cap) |  |  | 15% |  | 35% |  | 35% |  | 35% |  | 35% |  | 35% |  | 35% |  | 35% |  | 35% |  | 35%
Maximum Resources Potential BPF per Year of Start of Service |  |  | 625 |  | 625 |  | 625 |  | 625 |  | 625 |  | 625 |  | 625 |  | 625 |  | 625 |  | 625
Note on D8: J.Rooker: Amount of transmission reserved per reservation
Note on E8: J.Rooker: Cannot exceed requested capacity studied. Wind resources default to 0MW absent wind data

## Table 6 WinterResource Forecast
Winter Network Resource Forecast Per OATT 29.2 (v)
Total MW Input to System available as a Network Resource
| Data required for Proposed Network Resources |  | 2010 MW |  | 2011 MW |  | 2012 MW |  | 2013 MW |  | 2014 MW |  | 2015 MW |  | 2016 MW |  | 2017 MW |  | 2018 MW |  | 2019 (MW) Used as a Proxy for the 2021 Model Forecast)
| OASIS Number for Proposed Resource under Study | Study Number for Proposed Resources under Study | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity | Requested Capacity | Net Dependable Capacity
Customer Owned Network Resources
Customer Owned Existing Non Wind Resources
Resource #1 | 135555 | 2009-AG3 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Customer Owned Proposed Non Wind Resources
Resource #1 |  |  |  |  | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Resource #2
Subtotal Customer Owned Non Wind Network Resources MW |  |  | 50 | 50 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125 | 125
Customer Owned Existing Wind Resources
(Net dependable rating for wind either from wind data or default of 0MW per SPP Criteria 12.1.2.3g.v)
Wind Resource #1
Wind Resource #2 |  |  | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0 | 50 | 0
Customer Owned Proposed Wind Resources
Wind Resource #1
Wind Resource #2 |  |  |  |  | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0 | 75 | 0
Subtotal Customer Owned Wind Generation MW |  |  | 50 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0 | 125 | 0
Total Owned Network Resources MW |  |  | 100 | 50 | 250 | 125 | 250 | 125 | 250 | 125 | 250 | 125 | 250 | 125 | 250 | 125 | 250 | 125 | 250 | 125 | 250 | 125
Firm Purchases designated as a network resource
Non Wind Existing Resource Firm Purchases MW
Firm Purchase #1 |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Firm Purchase #2 |  |  |  |  | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Non Wind Proposed Resource Firm Purchases MW
Firm Purchase #1
Firm Purchase #2
Subtotal Non Wind Firm Purchases MW |  |  | 50 | 50 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Wind Existing Resource Firm Purchases MW
Firm Purchase #1
Firm Purchase #2 |  |  | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5 | 25 | 2.5
Wind Proposed Wind Resource Purchases
Firm Purchase #1 | 125555 | 2009-AG3 |  |  | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0 | 25 | 0
Firm Purchase #2
Subtotal Wind Firm Purchases MW |  |  | 25 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5 | 50 | 2.5
Total Purchases to serve native load |  |  | 75 | 52.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5 | 150 | 102.5
Sales and delivery to third parties within SPP footprint from designated network resources. Detail sales from specific units that deduct from resources available to serve native load as listed above. If sales are from fleet of resources, so note as a deduct from available resources to serve native load.
Third Party Sale #1
Third Party Sale #2
Total Sales from network resources |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Network Resources available to serve native load (total owned generation plus purchases less sales) |  |  | 175 | 102.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5 | 400 | 227.5
Note on D11: J.Rooker: Amount of transmission reserved per reservation
Note on E11: J.Rooker: Maybe same as requested transmission capacity except for wind resources which default to 0MW absent wind data

## Table 7 Receipt Points
Table 7
Description of Network Receipt Points, Attachment F, Attachment 2, Section 7.0 of the OATT
Point(s) of Receipt: Point(s) of interconnection on the Transmission Provider's Transmission System where capacity and energy will be made available to the Transmission Provider by the Delivering Party under Part II of the Tariff. The Point(s) of Receipt shall be specified in the Service Agreement for Long-Term Firm Point-To-Point Transmission Service. Receipt points are locations where energy enters the transmission system from Network Resources either via a power plant or interconnection tielines.
Tieline/Plant Name | Ownership | Voltage (kV)
Note: Only required for rollover to SPP NITS
Note: It is not necessary to list each generator bus but rather once per plant per transmission voltage level.
Note on A15: J.Rooker: It is not necessary to list each generator bus but rather once per plant per transmission voltage level.